Polygonal Steel Structures  ·  polygonal.com.ua  ·  +38 (050) 685-93-45  ·  info@polygonal.com.ua

TECHNICAL ASSIGNMENT

for the development of KM-stage design documentation

of a steel polygonal overhead line pole

Please fill in the fields below in as much detail as possible. Unfilled items will be taken at their default values (see the italic notes), which may lead to an inaccurate calculation or the need to request the data again.

1. Customer and site data

| Customer organisation | full name |
| --- | --- |
| Contact person | full name, position |
| Phone / e-mail |  |
| Object name | e.g. "Intersection of ... / ..." |
| Address / settlement of installation | region, district, city |
| Number of poles ordered | pcs, broken down by size if different |
| Desired delivery time |  |

2. General data for the documentation

| Date of completing the technical assignment |  |
| --- | --- |
| To be written in the title blocks |  |
| Calculate the pole for operating conditions in accordance with (state the standards) |  |

3. Pole type and electrical parameters

| Pole type |  |
| --- | --- |
| Nominal voltage |  |
| Degree of atmospheric pollution |  |

4. Climatic conditions

| Construction area |  |
| --- | --- |
| Terrain type for load calculation |  |
| Terrain micro-relief for load calculation |  |
| Wind zone by maximum wind pressure |  |
| Wind zone for wind pressure on conductors with ice |  |
| Wind zone for wind pressure on flat elements with ice |  |
| Ice zone |  |
| Seismicity on the MSK-64 scale, points |  |
| Maximum air temperature |  |
| Minimum air temperature |  |
| Mean annual air temperature |  |
| Altitude above sea level |  |
| Route turning angle |  |

5. Conductors and earth wires

| Number of circuits |  |
| --- | --- |
| Conductor type (for each circuit) |  |
| Number of conductors per phase |  |
| Maximum stress in the conductor | per current standards |
| Type of fixing of the conductor string to the pole | to be determined by the design / at the customer's request |
| Insulator type of the conductor string | to be determined by the design / at the customer's request |
| Number of insulators in the conductor string | to be determined by the design / at the customer's request |
| Earth wire type |  |
| Number of earth wires if split |  |
| Maximum stress in the earth wire | per current standards |
| Type of fixing of the earth wire string to the pole | to be determined by the design / at the customer's request |
| Insulator type of the earth wire string | to be determined by the design / at the customer's request |
| Number of insulators in the earth wire string | to be determined by the design / at the customer's request |

6. Clearances and arrangement

| Span: clearance / weight / wind | to be determined by the design / at the customer's request |
| --- | --- |
| Pole dimensions | to be determined by the design / at the customer's request |
| Terrain type for calculating the minimum vertical distance from the line conductors to the ground |  |
| Minimum vertical distance from the line conductors to the ground | to be determined by the design / at the customer's request |
| Conductor arrangement | to be determined by the design / at the customer's request |
| Cross-arm design (polygonal / lattice) | to be determined by the design / at the customer's request |

7. Pole structure

| Number of shaft sections / Height of shaft sections | to be determined by the design |
| --- | --- |
| Joint between shaft sections | telescopic / flanged |
| Joint between the shaft and the foundation | telescopic / flanged |
| Climbing ladder required | yes / no |
| Steel grade | S245 and S345 |
| Cross-section sizes of the shaft sections at the top and bottom | to be determined by the design |
| Design life | 40 years |

8. Coating and additional requirements

| Corrosion protection | to be determined by the design / at the customer's request |
| --- | --- |
| Sketch of the pole to be designed | attached separately |

The KM-stage design documentation must include: source data and scope of application; an erection scheme and drawings of the joints; a calculation sheet; loads for calculating the fixing in the ground; a steel section schedule.

| Completed by (full name, position): ____________________________ | Date: ____________________________ |
| --- | --- |
| Signature: ____________________________ |  |

Please send the completed form to info@polygonal.com.ua